## Slide 1
Brain samples nomenclature (28 samples)
Samples of the wild type are numbered, and samples with trimmed whiskers have the letters assigned
Wild Type: | Animal #: | Sex: | Hemisphere: |  | Trimmed: | Animal #: | Sex: | Hemisphere:
1 | 4 | F | Left |  | A | 9 | F | Left
2 | 4 | F | Right |  | B | 9 | F | Right
3 | 1 | F | Left |  | C | 7 | F | Left
4 | 1 | F | Right |  | D | 7 | F | Right
5 | 3 | F | Left |  | E | 8 | F | Left
6 | 3 | F | Right |  | F | 8 | F | Right
7 | 30 | F | Left |  | G | 16 | M | Left
8 | 30 | F | Right |  | H | 16 | M | Right
9 | 31 | F | Right |  | I | 24 | M | Left
10 | 31 | F | Left |  | J | 24 | M | Right
11 | 6 | M | Left |  | K | 27 | M | Left
12 | 6 | M | Right |  | L | 27 | M | Right
13 | 5 | M | Left |  | M | 23 | M | Left
14 | 5 | M | Right |  | N | 23 | M | Right

## Slide 2: XRD Pattern Overview
Characteristic XRD pattern
28 samples
~20 mm from sample to detector (this is not confirmed)
q – field of view range of apprx 6 - 30
Appear to have circular symmetry
All patterns are normalized by the integral of primary beam
q = 14
q = 10
q = 4.3

## Slide 3: Brain samples intensity profiles (28 samples)
Peak 2
Peak 1
Peak 3
Primary
Beam edge
q ~ 14
q ~ 10
q ~ 4.3

## Slide 4: Gaussian Fitting - examples
Peak 2
Peak 1
Peak 3

## Slide 5: Peak 1
Chart: Peak 1
| 14.088126607583897 | 13.839022631555684 | 13.931071040265063 | 14.064593159430409 | 14.127446442473026 | 14.533700585270177 | 14.151362507020048 | 14.049260516910911 | 14.233160220428127 | 14.311970229922286 | 14.058736958134805 | 14.53805571028172 | 14.220414450287372 | 14.268853803929181
Peak 2 | 159.1649 | 173.3459 | 156.6282 | 148.4672 | 178.4956 | 204.0635 | 169.7912 | 177.7405 | 183.449 | 166.9762 | 177.1691 | 252.9595 | 177.4745 | 180.0577
 | 179.0253 | 183.7856 | 180.4331 | 176.5878 | 179.4174 | 188.1632 | 174.4413 | 175.8626 | 185.3734 | 180.1309 | 178.6663 | 172.6118 | 172.6118 | 184.6204
No clear separation between wild type and trimmed

## Slide 6: Peak 2
Chart: Peak 2
| 10.143034851306533 | 10.146031111113107 | 10.12498495903262 | 10.130410401651988 | 10.172319700902287 | 10.203694773416409 | 10.161360283917613 | 10.134983010075185 | 10.148366346834479 | 10.182315919410447 | 10.145845836726494 | 10.265673391374419 | 10.199421850909427 | 10.211963584350316
Peak 2 | 112.1829 | 134.4368 | 122.7105 | 114.3721 | 137.0832 | 135.923 | 125.8819 | 133.494 | 125.9712 | 126.8766 | 133.2733 | 160.663 | 130.6015 | 131.0231
Trimmed | 136.2037 | 137.8908 | 133.2974 | 130.5727 | 135.5026 | 127.839 | 137.8959 | 118.3153 | 138.7895 | 123.4847 | 116.7084 | 112.3518 | 112.3518 | 139.0656
No clear separation between wild type and trimmed

## Slide 7: Peak 3
Chart: Peak 3
| 4.3385910032659121 | 4.3608807246792587 | 4.2959031244612209 | 4.4134052061242706 | 4.3333777638145925 | 4.3706985377780958 | 4.36997581748561 | 4.3063438756696968 | 4.3577425783015444 | 4.3692453676002652 | 4.3468357367940156 | 4.4083351226259246 | 4.3724583711963882 | 4.3204842928318259
Wild | 79.2042 | 88.9311 | 86.7031 | 82.1417 | 97.3859 | 93.5593 | 86.4107 | 93.2006 | 83.6594 | 84.8415 | 93.5597 | 99.4252 | 97.0538 | 94.2163
Trimmed | 95.2678 | 98.0014 | 99.3772 | 97.9521 | 100.3262 | 90.2787 | 99.3538 | 92.7506 | 100.8095 | 90.1758 | 86.7294 | 84.3211 | 84.3211 | 101.3078
Seems to be a separation between wild type and trimmed

## Slide 8: XRD Pattern Overview
q = 14
q = 10
q = 4.3

## Slide 9: Fourier Analysis

## Slide 10: Space Fourier Analysis

## Slide 11: 2D Space Fourier Analysis

## Slide 12: XRD Pattern Overview